May 1, 2015 Antenna Calibration Tests

Raw to Processed Data Manipulation

Dual Antenna Tests, 30 Degree Increments

Note: The file was opened with Audacity, Effect->Amplify was applied. The gain of 7.3 db was applied to ALL FILES. I then selected a pulse in the file, and a sub-pulse (neither recorded). The sub-pulse was usually the first full sequence of 5 antenna slots available. I guessed where the Antenna 1 pulse started and selected a sample of 6.0 ms long. Each file should have the same number of points, plus or minus a few. The nominal time slots are 1200 microseconds with the first lot Antenna 1 followed by the index pulse and Antenna 4.

Note 2: We started with Antenna 4 at Angle zero...